## Sheet1
Electrical Isolations Permit
1.0 Works Details
1.1 Date of Works (Permit only valid for one day) |  | 1.2 Location of works (Please specify room names/numbers if known)
1.2 Start Time for Isolation |  | 1.3 End Time for Isolation
1.4 Details of Plant/Equipment requiring Isolation
Unless agreed otherwise all Electrical Isolations are to be carried out by a BBC Studioworks MEP Engineer. At least 48 hours weekday notice must be provided for all isolation requests. Unless agreed and authorised in advance a new permit must be granted for each new day. Please contact the duty Engineer to confirm the plant has been isolated and again once the works have been completed. BBC Studioworks Engineers can be contacted via Reception/Security - 0203 327 7400
2.0 Requester Details
Requester Name
Requester Contact Tel
Requester Email
Company
Date of Application
Onsite Contact Name
Onsite Contact Tel.
3.0 Confirmation of Authorisation to Work and Acceptance of Authorisation
3.1 BBC Studioworks Engineer - Authoriser |  | 3.2 Contractor - Requestor
I certify that the electrical isolation as per the request above has been isolated and locked off and that the works are cleared to commence subject to the conditions of this permit. |  | I certify I have personally examined the plant and equipment as stated above and that is safe to commence work. I have instructed all other contractors under my control to work safely within the permit conditions.
Lock No/Name:
Name: |  | Name:
Position: |  | Position:
Date/Time: |  | Date/Time:
Signature: |  | Signature:
4.0 Clearance/Cancellation Confirmation After Work
4.1 Contractor - Requestor |  | 4.2 BBC Studioworks Engineer - Authoriser
I certify that all persons under my charge have been withdrawn. The authorised work IS / IS NOT complete. (INDICATE CLEARLY) |  | I certify that: Work is complete Isolation Removed Area/Equipment safe to use | YES / NO YES / NO YES / NO
Name: |  | Name:
Position: |  | Position:
Date/Time: |  | Date/Time:
Signature: |  | Signature:
Office Use Only
GWP Permit Ref |  | Notes
Permit No. |  | Signature
Approved By |  | Date
| Please email this document to | permittowork@bbcstudioworks.com