## Sheet1
Hot Works Permit
1.0 Works Details
1.1 Date of Works (Permit Strictly only valid for one day. For extensions/additional works a new application must be made) |  |  | 1.2 Location of works (Please specify room names/numbers if known)
1.2 Start Time for Hot Works |  |  | 1.3 End Time for Hot Works
1.4 Details of Work incl. equipment used
2.0 Contractor Details |  |  | Contractor/Company
Supervisor in Charge |  |  | Supervisor Contact Tel.
3.0 Precautions - to be completed by the Contractor |  |  | IN THE EVENT OF A FIRE PLEASE IMMEDIATELY NOTIFY BBC STUDIOWORKS SECURITY ON 0203 327 7443 OR 07816 281 379
| YES | NO |  | YES | NO
1. Is the Equipment in good working order? |  |  | 5. Is suitable ventilation in place?
2. All combustibles relocated to a minimum of 10m from the work area including areas on opposite sides of walls/floors if heat can be transferred to/through them. Any combustibles which cannot be moved should be protected with metalguards or fire retardant tarpaulings. |  |  | 7. Are barricades or barriers required?
8. Are signs required and are they in place?
9. Have you checked and cleared the area from explosive or flammable items?
3. Is suitable Fire Fighting Equipment available? E.g. Fire Extinguisher |  |  | 10. Is a fire watch procedure in place for at least 1 hour after works have finished?
4. Are welding curtains provided (where applicable)? |  |  | 11. Do any smoke detectors require isolating?
4.0 Confirmation of Authorisation to Work
4.1 Contractor - Confirmation of Precautions |  |  | 4.2 BBC Studioworks - Authorisation to Work
I have received the information for the area specified and confirm that all the above relevant precautions have been taken for the work to start, under my control. |  |  | I authorise the above work subject to the conditions of this permit and subject to the start and end time in section 1.2 and 1.3
Name: |  |  | Name:
Position: |  |  | Position:
Date/Time: |  |  | Date/Time:
Signature: |  |  | Signature:
5.0 Clearance/Cancellation Confirmation After Work
5.1 Contractor - Clearance |  |  | 5.2 BBC Studioworks - Cancellation
I certify that all persons under my charge have been withdrawn. The authorised work IS / IS NOT complete. (INDICATE CLEARLY) |  |  | I certify that work is complete Security have been notified to remove smoke isolations I certify that area/Equipment safe to use |  | YES / NO YES / NO YES / NO
Name: |  |  | Name:
Position: |  |  | Position:
Date/Time: |  |  | Date/Time:
Signature: |  |  | Signature:
Office Use Only |  |  | HW Permit No. | HW-
GWP Permit Ref. | GWP- |  | Approved By
Date |  |  | Signature
Notes/Conditions:
|  | Please email this document to: | permittowork@bbcstudioworks.com |  | v2.0